## Slide 1
PhD Final Examination
Enhancing the Performance of
Country-Scale Water-Energy Systems through Synergized Operations
  by Rachel Koh
under the guidance of Assoc. Prof. Stefano Galelli
21 June 2023
Notes: Introduce elements of title:
Goals of power system: reliability, sustainability
Energy supply sector 2nd largest emitter of GHG
Transition to renewable sources  Intro hydropower, water-energy systems

## Slide 2
Energy supply sector 2nd largest emitter of GHG
https://www.argusmedia.com/en/news/2187425-us-cold-snap-leaves-millions-without-electricity
https://www.scmp.com/business/article/3201057/chinas-coal-plants-consumed-citys-worth-extra-water-every-day-during-summer-drought-alarming-climate
https://www.theguardian.com/environment/2023/jun/12/uk-heatwave-prompts-order-to-fire-up-coal-plant-to-meet-aircon-demand
https://www.spglobal.com/marketintelligence/en/news-insights/latest-news-headlines/climate-change-poses-big-water-risks-for-nuclear-fossil-fueled-plants-60669992
https://asianews.network/severe-drought-affects-electricity-production-of-northern-hydropower-plants/
Notes: Texas temp as low as -14 degC
pipes froze and burst

## Slide 3
Hours
Planning
Temporal scale
Operations
SUB-TOPIC 1 (Chapter 2 in thesis)
Advancing the Integration of Renewables by Co-Simulating Water and Energy Systems
SUB-TOPIC 2 (Chapter 3 in thesis)
Diagnosing Power Development Plans through Short-term Grid Operations
SUB-TOPIC 3 (Chapter 4 in thesis)
Evaluating Streamflow Forecasts in Hydro-Dominated Power Systems — When and Why They Matter
Research Gaps & Contributions
Water management model
Power
system
model
Capacity expansion plans lack detailed planning
Country
Spatial scale
Days
Years

## Slide 4
Advancing the integration of renewables by co-simulating
water and energy systems
In collaboration with Dr. Jordan Kern (North Carolina State University)
SUB-TOPIC 1 (Chapter 2 in Thesis)
Koh, R., Kern, J. & Galelli, S. (2022). Hard-coupling water and power system models
increases the complementarity of renewable energy sources. Applied Energy 321,119386.
https://doi.org/10.1016/j.apenergy.2022.119386.

## Slide 5
Min, Ho & Wagh, Sumit & Kadier, Abudukeremu & Gondal, Irfan & Azim, Nur & Mishra, Mukesh. (2018).
Renewable Energy Technologies.
Mass balance equation:
s.t.
Reservoir Operations
Storage at time t
Hydropower equation:
x x g x x
Inflow to reservoir
Controlled release from reservoir
Hydropower produced from turbine
Turbine efficiency
Water density
Hydraulic head
Influence of
water
on
energy supply

## Slide 6
Traditional simulation environment
Energy system
Reservoir model
Release
Available hydropower:
Water system
Day d
Reservoir model
Release
Available hydropower:
Day d+1
Reservoir model
Release
Available hydropower:
Day d+n
…

## Slide 7
Power System Operations
Unit Commitment
Economic dispatch
Power system model (MILP)
Goal: Supply all demands at minimum cost, while complying with the technical constraints of the transmission network
Which generators should be used?
How much should each generator generate?
On
Fixed costs
Variable costs
Switch
Start-up cost
Shut-down cost
Production
Fuel costs
Imports
Import costs
Integer variables
Continuous variables

## Slide 8
Traditional simulation environment
Power system model
Hourly energy production mix
(HP dispatched = *),
Operating cost,
CO2 emi.
Energy system
…
Power system model
Power system model
Hourly energy
production mix
(HP dispatched = *),
Operating cost,
CO2 emi.
Reservoir model
Release
Available hydropower:
Water system
Reservoir model
Release
Available hydropower:
Reservoir model
Release
Available hydropower:
Day d+n
…
Hourly energy
production mix
(HP dispatched = *),
Operating cost,
CO2 emi.
State-of-the-art simulation environment
Day d
Day d+1

## Slide 9
State-of-the-art simulation environment
9
Notes: Example papers

## Slide 10
State-of-the-art simulation environment
Power system model
Hourly energy production mix
(HP dispatched = *),
Operating cost,
CO2 emi.
Energy system
…
Power system model
Power system model
Hourly energy
production mix
(HP dispatched = *),
Operating cost,
CO2 emi.
Reservoir model
Release
Available hydropower:
Water system
Reservoir model
Release
Available hydropower:
Day d+1
Reservoir model
Release
Available hydropower:
Day d+n
…
Hourly energy
production mix
(HP dispatched = *),
Operating cost,
CO2 emi.
Produce
*
What happens if * < ?
Excess hydropower (*) curtailed (wasted)
Why do such events happen?
Variability in:
Energy demand
  Seasonal
  Temperature-driven
Supply
  Reservoir inflow
  Solar / wind
Physical constraints
  Transmission line capacity
How can we improve the overall system performance?
Release *
Co-
Day d
*
10

## Slide 11
Reservoir model
Release
Store
Total daily dispatched: *
Release *
Store *
implement
hydropower
other renewables
coal
oil
imports
Hydropower fully utilised?
Daily available:
Power system model
Solar
Wind
Load
hourly
 * =
 * <
Yes
No
DAILY
HOURLY
Modelling Framework
Reservoir re-operation model
implement
Stochastic inputs

## Slide 12
Generating capacity as of 2016:
Hydropower: 1048 MW
Coal: 400 MW
Oil: 282 MW
Import from Vietnam: 200 MW
Import from Thailand: 120MW
Study Site
Notes: plot_hyd_solar_hr()

## Slide 13
Synthetic data
Data | Source | Source
Solar irradiance |  | Renewables.ninja https://www.renewables.ninja/
Temperature |  | National Center for Atmospheric Research https://climatedataguide.ucar.edu/climate-data/climate-forecast-system-reanalysis-cfsr
Load |  | Electricite Du Cambodge EDC Annual Report, 2016
River discharge |  | Global Flood Awareness System https://cds.climate.copernicus.eu/cdsapp#!/dataset/cems-glofas-historical?tab=overview

## Slide 14
Synthetic data – Solar irradiance & Load
Synthetically expanded 1000-year time series
Detrend
( )
Raw data ()
Residuals
Re-trend
ARMA model
Synthetic standardized residuals
Synthetically expanded time series
Solar irradiance
Load

## Slide 15
Synthetic data – Reservoir inflow
Synthetically expanded 1000-year spatially-aggregated streamflow
time series
Kirsch-Nowak Streamflow Generator
Daily streamflow time series for each reservoir
Synthetic daily streamflow time series for each reservoir
Kirsch-Nowak Streamflow Generator
Multi-site streamflow time series generator
Resolution: Daily
Accounts for correlation across sites
Rescales synthetic flows with monsoon
https://github.com/julianneq/Kirsch-Nowak_Streamflow_Generator

## Slide 16
Goal: To understand the benefits of hard-coupling water and power system models (2 scenarios: with & w/o feedback)
Stationary hydro-meteorological uncertainty
Current and future grid
infrastructure
Streamflow
Load
As-is grid
+600MW
solar
1000 synthetic
time series
3 grid
set-ups
Solar
irradiance
+300MW
solar
6 scenarios x 1000 simulations each
Case | 1 | 1H | 2 | 2H | 3 | 3H
Installed cap (MW) Coal Oil Hydro Solar | 400 602 1048 | 400 602 1048 | 400 602 1048 300 | 400 602 1048 300 | 400 602 1048 600 | 400 602 1048 600
Co-simulation |  |  |  |  |  | 
Experimental setup
Performance metrics:
Annual cost
Annual CO2 production
Renewable penetration

## Slide 17
Probabilistic assessment
CO2 reduction: 4% - 50%
Cost savings: 4% - 40%
Add. renewable: 1% - 20%
Co-operating is beneficial

## Slide 18
Extent of benefits controlled by:
Streamflow
Load
Flexibility
Strong correlation btw cost & CO2 emission

## Slide 19
Conclusions
Co-simulation facilitates operational flexibility
Benefits:
  Lower operating costs
  Lower CO2 emissions
  More renewables usage
Favorable conditions:
  High inflow
  Low load

## Slide 20
Diagnosing Power Development Plans through Short-term Grid Operations
In collaboration with Dr. Jordan Kern (North Carolina State University)
SUB-TOPIC 2 (Chapter 3 in Thesis)

## Slide 22
 | 2016 | 2019 | 2022 | 2025
Peak demand (MW) Energy demand (GWh) | 1,068 6,612 | 1,755 11,738 | 3,455 15,456 | 4,828* 28,465*

## Slide 23: Power development plans - Gaps
Simplification
  Demand
  Supply
  Transmission lines
Overlook
  Operational constraints
  Variability in supply and demand
2025 demand nodes
Aggregated by province
Evaluate long-term plans using short-term grid operations

## Slide 24: Experiments – Stress test
Water management model
Available hydropower
Power system model
Synthetic load
(50 scenarios)
Synthetic reservoir inflow
(50 scenarios)
Potential issues in future grid
Potential solutions
  Management (Feedback)
  Physical (Infrastructure)

## Slide 25: 2025 grid: Potential Issues

## Slide 26
2025 grid: Potential Issues
Problem I: Transmission line stress
Problem II: Power shortage
Solution I: Management
Solution II: Physical

## Slide 27
2025 grid: Management vs. Physical solution
Physical solutions are useful in reducing grid stress

## Slide 28
2025 grid: Management vs. Physical solution
Management solution: Increases hydro usage, Reduces operating cost
Physical solution: Reduces power shortage

## Slide 29
Conclusions
Grid expansion plans may overlook operational constraints
  E.g., Transmission lines, Reserves requirements
Potential problems
  E.g., Grid stress, Unfulfilled demand
Short-term operations should be used to diagnose long-term plans
  Management solution: Increases HP usage, Reduces operating cost
  Physical solution: Reduces grid stress, Reduces power shortage

## Slide 30
Evaluating Streamflow Forecasts in Hydro-Dominated Power Systems — When and Why They Matter
Koh, R., & Galelli, S. (2023). Evaluating Streamflow Forecasts in Hydro-Dominated Power Systems — When and Why They Matter. Water Resources Research. (in preparation)
SUB-TOPIC 3 (Chapter 4 in Thesis)

## Slide 31
Generating capacity as of 2016:
Hydropower: 1048 MW
Coal: 400 MW
Oil: 282 MW
Import from Vietnam: 200 MW
Import from Thailand: 120MW
Study Site

## Slide 32
Available
hydropower
Power System Model
Reservoir Model
System operating costs
CO2 emissions
Energy generation mix
Transmission line usage
Assessing streamflow forecast value
Water shortage
Spilled water volume
Deviation from pre-defined target
Available
hydropower

## Slide 33
Dispatched
hydropower
Available
hydropower
Power System Model
Reservoir Model
Reservoir
Re-operation Model
Target storage level
Inflow forecasts
Updated release
Transmission line details
Electricity demand
Thermal generator parameters
System operating costs
CO2 emissions
Energy generation mix
Transmission line usage
Available
hydropower

## Slide 34
Mass balance equation:
s.t.
Hydropower equation: x x g x x
Reservoir Operations
day
d-1
d
d+H-1
Streamflow forecast
Storage
Inflow to reservoir
Controlled release from reservoir
Hydropower produced from turbine
Turbine efficiency
Water density
Hydraulic head

## Slide 35: Experiments
Data: River discharge (obs & forecast)
Simulation period: 2000-2019 (19 years)
Forecast horizon: 30 days
Forecast scenarios:
  Perfect forecast
  Climatology
  11 forecast members + Ensemble mean
Skill measure: Symmetric Mean Absolute Percentage Error (SMAPE)
Key performance metrics:
  Available hydropower
  Dispatched hydropower
  Unused hydropower
  System operating costs
  CO2 emissions
  Number of N-1 violations
14 deterministic forecast scenarios x2
(with & w/o feedback)
Global Flood Awareness System
https://cds.climate.copernicus.eu/cdsapp#!/dataset/cems-glofas-historical?tab=overview

## Slide 36: Experiments
Data: River discharge (obs & forecast)
Simulation period: 2000-2019 (19 years)
Forecast horizon: 30 days
Forecast scenarios:
  Perfect forecasts
  Climatology
  11 forecast members + Ensemble mean
Skill measure: Symmetric Mean Absolute Percentage Error (SMAPE)
Key performance metrics:
  Available hydropower
  Dispatched hydropower
  Unused hydropower
  System operating costs
  CO2 emissions
  Number of N-1 violations
14 deterministic forecast scenarios x2
(with & w/o feedback)
Global Flood Awareness System
https://cds.climate.copernicus.eu/cdsapp#!/dataset/cems-glofas-historical?tab=overview
Scope of Analysis
Different operating schemes
  No forecast vs. Perfect vs. Climatology vs. Ensemble mean
Forecasts with different skills
  11 forecast members
Inclusion of operational flexibility (feedback)

## Slide 37: Result I
Hydropower production ≠ Hydropower dispatched
Forecasts reduce hydropower over-production
Post-monsoon: Nov-Jan
Sustained hydropower supply
Sustained hydropower supply
Monsoon: May-Oct
Pre-monsoon: Feb-Apr

## Slide 38
Forecasts most beneficial post-monsoon, but under-perform during the monsoon.

## Slide 39: Result II
Skill-value relationship is partially masked by the value of Q.

## Slide 40
Forecasts matter only in some specific moments and for some specific variables.
Performance is largely determined by the interactions between system components.

## Slide 41
Conclusions
The use of streamflow forecasts improves system operations:
  Reduces hydropower over-production during monsoon
  Maintains hydropower supply post-monsoon
  Reduces transmission line stress
Trade-offs between benefits during and after the monsoon
Performance is largely determined by the interactions between system components

## Slide 42
Summary of Contributions
Research Gap
Resolution
Finding
Interactions between water-energy systems not represented
Hard-coupled water-energy models
- More efficient operations
- Better system performance
Power development plans do not consider operational constraints
Run long-term power development plans at operational level
Short-term operations can identify potential issues in long-term plans
Benefits of streamflow forecasts in power systems not demonstrated
Use power system metrics to assess the value of streamflow forecasts
Trade-off between benefits during and after the monsoon
Sub-topic 1
Sub-topic 2
Sub-topic 3

## Slide 43
Future work
Speed up computation
Model interconnections between countries

## Slide 44
Thank you!

## Slide 46
References
Chowdhury, A. K., Dang, T. D., Nguyen, H. T., Koh, R., & Galelli, S. (2021). The Greater Mekong's Climate‐Water‐Energy Nexus: How ENSO‐Triggered Regional Droughts Affect Power Supply and CO2 Emissions. Earth's Future, 9(3), e2020EF001814. doi: 10.1029/2020EF001814
Chowdhury, A. K., Kern, J., Dang, T. D., & Galelli, S. (2020). PowNet: a network-constrained unit commitment/economic dispatch model for large-scale power systems analysis. Journal of Open Research Software, 8(1). doi: 10.5334/jors.302
Electricite Du Cambodge (2016). 2016 Annual Report. Technical Report, Electricite Du Cambodge
Gebretsadik, Y., Fant, C., Strzepek, K., & Arndt, C. (2016). Optimized reservoir operation model of regional wind and hydro power integration case study: Zambezi basin and South Africa. Applied Energy, 161, 574-582. doi: 10.1016/j.apenergy.2015.09.077
Harrigan, S., Zsoter, E., Alfieri, L., Prudhomme, C., Salamon, P., Wetterhall, F., C. Barnard, H. Cloke & Pappenberger, F. (2020). GloFAS-ERA5 operational global river discharge reanalysis 1979–present. Earth System Science Data, 12(3), 2043-2060. doi: 10.24381/cds.a4fdd6b9
Kahil, T., Parkinson, S., Satoh, Y., Greve, P., Burek, P., Veldkamp, T. I., ... & Wada, Y. (2018). A continental‐scale hydroeconomic model for integrating water‐energy‐land nexus solutions. Water resources research, 54(10), 7511-7533. doi: 10.1029/2017WR022478
Kelly, T. D., & Foster, T. (2021). AquaCrop-OSPy: Bridging the gap between research and practice in crop-water modeling. Agricultural Water Management, 254, 106976. doi: 10.1016/j.agwat.2021.106976
Kern, J. D., Patino-Echeverri, D., & Characklis, G. W. (2014). An integrated reservoir-power system model for evaluating the impacts of wind integration on hydropower resources. Renewable energy, 71, 553-562. doi: 10.1016/j.renene.2014.06.014
National Center for Atmospheric Research Staff (Eds). Last modified 08 Nov 2017. "The Climate Data Guide: Climate Forecast System Reanalysis (CFSR)." Retrieved from https://climatedataguide.ucar.edu/climate-data/climate-forecast-system-reanalysis-cfsr.
Pfenninger, S. & Staffell, I. (2016). Long-term patterns of European PV output using 30 years of validated hourly reanalysis and satellite data. Energy 114, pp. 1251-1265. doi: 10.1016/j.energy.2016.08.060
Staffell, Iain and Pfenninger, Stefan (2016). Using Bias-Corrected Reanalysis to Simulate Current and Future Wind Power Output. Energy 114, pp. 1224-1239. doi: 10.1016/j.energy.2016.08.068
Su, Y., Kern, J. D., Denaro, S., Hill, J., Reed, P., Sun, Y., Cohen, J., & Characklis, G. W. (2020). An open source model for quantifying risks in bulk electric power systems from spatially and temporally correlated hydrometeorological processes. Environmental Modelling & Software, 126, 104667. doi: 10.1016/j.envsoft.2020.104667
Vinca, A., Parkinson, S., Byers, E., Burek, P., Khan, Z., Krey, V., ... & Riahi, K. (2020). The NExus Solutions Tool (NEST) v1. 0: an open platform for optimizing multi-scale energy–water–land system transformations. Geoscientific Model Development, 13(3), 1095-1121. doi: 10.5194/gmd-2019-134
Voisin, N., Kintner-Meyer, M., Skaggs, R., Nguyen, T., Wu, D., Dirks, J., Xie, Y., & Hejazi, M. (2016). Vulnerability of the US western electric grid to hydro-climatological conditions: How bad can it get?. Energy, 115, 1-12. doi: 10.1016/j.energy.2016.08.059